## Slide 1: No Reduction in Over-treatment for Syphilis Using a Novel Dual Rapid Diagnostic Test in Pregnant Women
C Langendorf1, C Lastrucci2, I Sanou-Bicaba3, K Blackburn4, M-H Koudika2, R F Grais1, T Crucitti5
1Epicentre, Paris, France; 2Médecins Sans Frontières (MSF), Paris, France; 3Ministère de la Santé du Mali, Bamako, Mali; 4MSF, Sydney, Australia; 5Institute of Tropical Medicine, Antwerp, Belgium
Introduction
Screening pregnant women for syphilis using rapid diagnostic tests (RDTs) is a key tool in the prevention of congenital syphilis. However, most syphilis RDTs detect only treponemal antibodies (T-RDT), meaning antibiotics may be provided unnecessarily to previously treated pregnant women.
A new immunochromatographic RDT, Dual Path Platform Syphilis Screen and Confirm assay (DPP test, CHEMBIO Diagnostic System, Inc, USA) combines simultaneous detection of treponemal (T) and non-treponemal (NT) antibodies.
Acknowledgements
Methods
Results
Conclusion
Study design: Prospective study
Study area: Maternity of Deou, Burkina Faso
Inclusion criteria:
  Pregnant woman
  Attending antenatal consultations in study site
  Eligible for routine syphilis screening according to routine practices in the maternity
  Consent to participate to the study
  No exclusion criteria
Interventions
Analysis:
  Primary endpoints: DPP results by midwives and laboratory technician; SD Bioline results by laboratory technician; reference tests results (TPPA and RPR) done at the Institute of Tropical Medicine (ITM), Antwerp, Belgium.
  Presumptive active syphilis: detection of T and NT antibodies.
  McNemar test for paired samples: compare proportions of falsely treated cases or falsely non treated cases between different algorithms (significance level p = 0.05).
Ethical considerations: Ethics approval was granted by the National Ethical Committee of Burkina Faso, ITM-Ethical Review Board and the Comité de Protection des Personnes in France.
Figure 1: Description of study activities
Enrolment of pregnant women
Finger prick blood collection
Venous blood collection
DPP test
1st user
SD Bioline Syphilis test
Field laboratory – Lab technician
Plasma extraction
RPR qualitative
Plasma storage for shipment to ITM reference lab
Treatment
No treatment
DPP test
2nd user
Reference tests TPPA/RPR quantitative
Negative
Positive
Negative
No treatment
Positive
Consultation room
Midwives
Picture : 3rd reading
Whole blood
In this first evaluation comparing DPP to traditional screening methods in pregnant women, we saw no reduction in unnecessarily treated syphilis and an underestimation of those needing treatment.
High prevalence of presumptive active syphilis in the population may indicate the presence of non-venereal treponematoses in the area as previously shown in the 80’s.
The sensitivity of the DPP test was lower compared to other studies performed in behavioral high risk groups or symptomatic patients. However, this test cannot be used in screening for syphilis unless further study in other contexts shows better performance.
242 pregnant women were included from May to August 2014.
  Median age = 25y
  No history of syphilis or current clinical symptoms of syphilis
Prevalence of presumptive active syphilis: 37.6% (51% with RPR titre≥1:8)
DPP inter-user agreement : T-line = 0.95; NT-line = 0.75.
DPP testing did not reduce the number of incorrectly treated cases (over-treatment) compared to T-RDT (p=0.2) (Figure 3).
Figure 3. Proportions of potential underdiagnosis and overtreatment using T-RDT or DPP tests
P=0.2
P<0.001
Participants N = 242
Presumptive active syphilis NEED TREATMENT
n=91 (37.6%)
NO active syphilis
NO NEED TREATMENT
n=151 (62.4%)
No treatment
using DPP
n=44 (48.4%)
No treatment
using T-RDT
n=2 (2.2%)
Over-treatment using DPP
n=0 (0.0%)
Over-treatment using T-RDT
n=6 (4.0%)
In countries affected by increasingly common shortages of Benzathine penicillin, medication for preventing congenital syphilis must be prioritized for those who do really need it.
We estimated the potential reduction in overtreatment when comparing T-RDT (SD Bioline Syphilis Test) to the DPP test.
DPP testing had a higher proportion of under-diagnosis compared to T-RDT (p<0.001). Therefore, 48.4% (44) of women needing treatment (including 16% with high RPR titres) would not have received it if only DPP testing had been used, versus 2.2% (2) cases that would have been missed using T-RDT testing (Figure 3).
Figure 2. DPP test, CHEMBIO Diagnostic system. © Céline Langendorf, 2014.
We are grateful to the pregnant women who participated in this study. We also wish to thank the Ministry of Health in Burkina Faso and the staff working in Deou health centre.