## Slide 1: Xpert scale-up: time to take stock and optimise resources to increase impact
Background
Global implementation of the Xpert MTB/RIF assay has been critical for the rapid diagnosis of tuberculosis (TB) and multidrug-resistant (MDR)-TB. Since initial WHO endorsement of the technology in 2010, >34 million tests and >42,000 modules have been procured by 145 countries,1 under the high-burden developing country (HBDC) concession pricing programme. However, networks have struggled with optimisation and face a variety of challenges in sustaining routine operations, due in part to a rapid implementation process.2-5
While the obvious benefits of Xpert MTB/RIF testing are speed, accuracy, and added detection of rifampicin resistance, the test is also reported to increase bacterial confirmations, reduce time to treatment initiation, decrease the number of cases lost to follow-up, and lower the levels of empiric treatment.6-7 These advantages inspired the WHO recommendation to use Xpert MTB/RIF as the initial test for all cases presumptive for TB and universal drug sensitivity testing (DST) for MDR-TB.8 Today, countries are expanding their Xpert networks to reach expected targets for case detection as part of the End TB goals.
Acknowledgements
Special thanks to all participating countries and operations teams for assisting with data collection. Additional acknowledgement goes to collaborating partners for resources and added information.
Contact: kathleen.england@geneva.msf.org
Methods
MSF Access Campaign performed a multi-country survey to assess the progress of Xpert scale-up. The aim of the project was to gain knowledge regarding country adoption and implementation of the latest WHO policies for the use of Xpert MTB/RIF rapid molecular testing, and evaluate the existing testing capacity at country level. Questions were designed to focus on specific components of diagnostic network development in order to understand the current situation. Trends identified key areas that remain challenging to network optimisation as well as barriers that threaten sustainability.
A standardised questionnaire was distributed to country representatives of 22 high-burden TB countries. Survey topics included module capacity, procurement practices, service and maintenance issues, and operational experiences. Additional data were acquired from cited literature on lessons learned from early Xpert implementation and rollout; a review of relevant country information from the MSF “Out of Step” 2017 TB report; and information collected from open-source public resources, stakeholders, and partners. Descriptive statistics were used to analyse the data.
Countries Approached
Armenia D.R. Congo Mozambique Tajikistan
Belarus Georgia Myanmar Ukraine
Brazil India Papua New Guinea Vietnam
Cambodia Kenya Russian Federation Zimbabwe
CAR Kyrgyzstan South Africa
China Malawi Swaziland *Did not participate
Table 1: Module capacity and cartridge procurement in high-burden TB and survey countries
Results
Table 2: Country module capacity increase
References
1HBDC program procurement data, Cepheid.
2Denkinger et al. Eur Respir J 2013;42:544-7.
3Creswell et al. BMC Infect Dis 2014;14:2.
4Mustapha et al. SAARC JTLD HIV/AIDS 2015;12:2.
5Albert et al. Eur Respir J 2016;48:516-25.
6Auld et al. Trans R Soc Trop Med Hyg 2016;110:432-44.
7Stevens et al. ASM Microbiol Spectrum 2017;5:1.
8Implementing the End TB Strategy: Essentials, WHO: http://www.who.int/tb/publications/2015/end_tb_essential.pdf
T Masini1 , E Fajardo2, I Chikwanha2, K England2
1Independent consultant, Lucca, Italy; 2Médecins Sans Frontières (MSF), Access Campaign, Geneva, Switzerland
Note: Module capacity data were collected from survey and/or HBDC program procurement information.1 Cartridge data represent procurements made through the HBDC program only. Procurements outside of this program through alternative mechanisms are not known.
Conclusions
Policy: Guidance and training are essential to implement change. Routine mechanisms for monitoring and evaluation of the use and implementation of new policies are needed across all levels of the healthcare system.
Sustainability: Contingency and transition plans along with domestic funds are urgently needed to ensure network sustainability as external funding is reduced.
Capacity: Network assessments and new strategies for optimisation are required to ensure use and access based on health-seeking behaviour, geographical and epidemiological placement, and interventions for system strengthening.
Procurement: The current procurement process through the Global Drug Facility (GDF) should be improved to ensure timely deliveries. Price increases and fees on instruments or cartridges after entry into the country and through the distribution process should be thoroughly assessed to identify factors for government regulation.
Operations: Increases in instrument capacity and testing volumes will continue to add operational and technical challenges. Larger networks require proper oversight, maintenance services, and technical support. Network managers and trained maintenance staff are needed at regional levels as the size and complexity of networks increase.
Service & maintenance: Countries are encouraged to invest in building local capacity to support routine maintenance (including module replacements). A focal person(s) is needed to manage the network in order to decrease instrument down time, respond to module failures, and provide rapid troubleshooting. Better service provision by the manufacturer at country level is most desirable. Alternatives to current warranty and service agreements are needed.
Private sector: A higher level of engagement is needed to ensure patients in the private sector get access to Xpert MTB/RIF as the initial test for TB.
Xpert use for multi-disease testing (MDT): Stronger sensitisation efforts are needed to encourage program integration and testing. Countries implementing MDT need to showcase the utility and benefits, while providing guidance for routine use.
Xpert as initial test in guidelines
Xpert as initial test implemented widely
Xpert for risk groups in guidelines
Xpert for risk groups implemented widely
Network supported by Global Fund
Additional support by partners
Reported “some” domestic support
Will undergo Global Fund transitioning
Total modules reported by all
Total modules not functional across all
% failed modules across all
Annual failure rates (lowest and highest)
Reported >70% utilisation rate
13/22
7/22
21/22
11/22
15/16
10/15
6/15
6/12
2%
9/15
59%
32%
95%
50%
94%
67%
40%
50%
25%
64%
21,819
224
1.1%
Policy
Capacity
Funding
Area
Survey Question
Response
%
Instrument warranty coverage across all
Instruments under extended warranty
TAT module replacement (short-long; mean)
Surcharge option offered by Cepheid
Interested in surcharge option
Authorised Service Provider in country
Satisfied with service provision
Service support within MoH
Refresher training available
Specimen referral available
Specimen referral efficient
Implementing connectivity
Engaging private sector
Multi-disease testing implemented
Planning Xpert Ultra transition
Planning Xpert Omni implementation
7d-1y
4/11
10/11
17/22
6/11
3/16
7/11
10/14
7/14
12/16
6/15
2/14
2-4m
36%
91%
77%
55%
19%
64%
71%
50%
75%
40%
14%
6
17%
9%
8
Service Support
Systems
Additional Options
Area
Survey Question
Response
%
■ Country procured cartridges at >50% testing capacity
■ Country procured cartridges at 30-50% testing capacity
■ Country over-procured cartridges
*At optimised throughput of 960 tests/module/year (4 tests/module/day, 5-8hr workdays/week, and 48 work weeks/year)
†Rounded to the nearest 100
■ More than doubled capacity (68% of countries)
■ Moderate increases (27% of countries)
■ No increase (5% of countries). China did not participate in the survey but is known to be implementing other PCR-based technologies.